## Sheet1
Ward Category
| Surgical Wards | Medical Wards | Paediatric Wards (not Neonatal)
Enter the total inventory count of devices for each Equipment Type in the Ward Category
Number of Beds | refer to the attached letter
Point of Care Monitor (eg Dinamap) | 625 | 625 | 25
Measures at least NIBP and SPO2
Thermometer | 1616 | 1616 | 98
Measures at least Temperature in C
Physiological Monitor | 236 | 236 | 20
Displays at least ECG, Respiration, NIBP and SAO2
Volumetric Infusion Pump | 1311 | 1311 | 28
Mains operated eg Alaris GP
Syringe Pump | 850 | 850 | 31
Mains operated eg Alaris CC
Falls Alarm | information not held
Any stand-alone device monitoring for patient falls
Patient Scales | 21 | 48 | nk
Any stand-alone device capable of weighing a patient
Patient Hoist | 25 | 44 | nk
General lifting hoist eg Arjo Maximove
Defibrillator | 159 | 159 | 13
Any device capable of defibrillating a patient including AEDs