## Template to be populated
Freedom of information request
| Site Location (Hospital Name) | Manufacturer Name | Model Name | Purchased/Leased/MES | Age of equipment | Current Service Provider | Current Service Contract |  |  |  | Planned replacement date
[7 empty] | End date | Preventative Maintenance | Fully Comprehensive | Service Cost
[5 empty] | Years | Name |  | Yes or No | Yes or No | £ Per Annum | Date - Year
| (Freeform) | (Freeform) | (Freeform) | (Dropdown menu) | (Dropdown menu) | (Freeform) | (Dropdown menu) | (Dropdown menu) | (Dropdown menu) | (Freeform) | (Dropdown menu)
Example | The Royal Liverpool University Hospital | GE Healthcare | Proteus | Purchased | 6 | GE Healthcare | 2019-03-01 | No | Yes | 4500 | 2023
| Site | Brand | Model | Ownership Type | Age |  | MaxContractEndDate |  |  | Current_contract_cost | Planned Replacement Date
Populate | Royal Stoke University Hospital | SIEMENS LTD | BIOGRAPH MCT 128-4R PET/CT | Purchased | 5 | Siemens | 2020-04-01 | Yes | Yes | 132493 | 2023-11-30
| County Hospital | SIEMENS LTD | MAGNETOM SKYRA 3T | Purchased | 1 | Siemens | 2020-04-01 | Yes | Yes | 89363 | 2027-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | FD20 BIPLANE XRAY SCREENING ROOM | Purchased | 9 | Philips | 2020-04-01 | Yes | Yes | 74784.5 | 2019-11-30
| County Hospital | SIEMENS LTD | MAGNETOM AERA 1.5T | Purchased | 2 | Siemens | 2020-04-01 | Yes | Yes | 89363 | 2026-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ARTIS ZEEGO Q | Purchased | 4 | Siemens | 2020-04-01 | Yes | Yes | 87803 | 2024-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ARTIS ZEE MULTI-PURPOSE | Purchased | 4 | Siemens | 2020-04-01 | Yes | Yes | 53705 | 2024-11-30
| County Hospital | HOLOGIC | DIMENSION MAMMOGRAPHY X-RAY UNIT | Purchased | 3 | Hologic | 2020-04-01 | Yes | Yes | 17640 | 2020-11-30
| County Hospital | SIEMENS LTD | LUMINOS DRF | Purchased | 8 | Siemens | 2020-04-01 | Yes | Yes | 15334 | 2021-11-30
| County Hospital | SIEMENS LTD | YSIO MAX | Purchased | 4 | Siemens | 2020-04-01 | Yes | Yes | 36850 | 2021-11-30
| Hanley Breast Screen | HOLOGIC | DIMENSION MAMMOGRAPHY X-RAY UNIT | Purchased | 3 | Hologic | 2020-04-01 | Yes | Yes | 26460 | 2020-11-30
| County Hospital | HOLOGIC | DIMENSION MAMMOGRAPHY X-RAY UNIT | Leased | 3 | Hologic | 2020-04-01 | Yes | Yes | 17640 | 2020-11-30
| County Hospital | HOLOGIC | DIMENSION MAMMOGRAPHY X-RAY UNIT | Leased | 3 | Hologic | 2020-04-01 | Yes | Yes | 26460 | 2020-11-30
| Hanley Breast Screen | HOLOGIC | DIMENSION MAMMOGRAPHY X-RAY UNIT | Purchased | 3 | Hologic | 2020-04-01 | Yes | Yes | 17640 | 2020-11-30
| Royal Stoke University Hospital | TOSHIBA MEDICAL LTD | APLIO 300 | Purchased | 3 | Toshiba | 2021-12-31 | Yes | Yes | 24364.49 | 2022-11-30
| County Hospital | TOSHIBA MEDICAL LTD | APLIO 300 | Purchased | 3 | Toshiba | 2021-12-31 | Yes | Yes | 24364.49 | 2022-11-30
| County Hospital | TOSHIBA MEDICAL LTD | APLIO 300 | Purchased | 3 | Toshiba | 2021-12-31 | Yes | Yes | 24364.49 | 2022-11-30
| Royal Stoke University Hospital | TOSHIBA MEDICAL LTD | APLIO 400 | Replacement | 6 | Toshiba | 2021-12-31 | Yes | Yes | 24364.49 | 2019-11-30
| County Hospital | TOSHIBA MEDICAL LTD | APLIO 400 | Purchased | 4 | Toshiba | 2021-12-31 | Yes | Yes | 24364.49 | 2014-11-30
| Royal Stoke University Hospital | TOSHIBA MEDICAL LTD | Xario 200 Diagnostic Ultrasound | Purchased | 3 | Toshiba | 2021-12-31 | Yes | Yes | 24364.49 | 2015-11-30
| Royal Stoke University Hospital | TOSHIBA MEDICAL LTD | A500 APLIO | Leased | 2 | Toshiba | 2021-12-31 | Yes | Yes | 21340.8 | 2023-11-30
| Royal Stoke University Hospital | TOSHIBA MEDICAL LTD | APLIO 300 | Purchased | 1 | Toshiba | 2021-12-31 | Yes | Yes | 20785.36 | 2024-11-30
| County Hospital | GE Medical Systems Ltd | DISCOVERY XR656 FIXED X-RAY | Purchased | 8 | GE | 2020-03-01 | Yes | Yes | 19991 | 2020-11-30
| County Hospital | GE Medical Systems Ltd | DISCOVERY XR656 FIXED X-RAY | Purchased | 8 | GE | 2020-03-01 | Yes | Yes | 19991 | 2020-11-30
| Cobridge Community Health Centre | SIEMENS LTD | YSIO | Purchased | 5 | Siemens | 2020-04-01 | Yes | Yes | 17240.07 | 2020-11-30
| County Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | OPTIMA XR220 MOBILE X-RAY | Purchased | 3 | GE | 2020-03-01 | Yes | Yes | 11439 | 2025-11-30
| County Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | OPTIMA XR220 MOBILE X-RAY | Purchased | 8 | GE | 2020-04-01 | Yes | Yes | 11439 | 2020-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ARCADIS VARIC Mobile C-arm | Purchased | 6 | Siemens | 2020-04-01 | Yes | Yes | 10111.33 | 2022-11-30
| County Hospital | INSTRUMENTARIUM ZIEHM GMBH | ZIEHM VISION Mobile C-arm | Purchased | 3 | Xograph | 2021-03-31 | Yes | Yes | 9297.26 | 2025-11-30
| Royal Stoke University Hospital | FUJIFILM CORPORATION | FDR VISIONARY SUITE | Purchased | 1 | Fuji | 2027-07-01 | Yes | Yes | 8651 | 2024-11-30
| Royal Stoke University Hospital | INSTRUMENTARIUM ZIEHM GMBH | ZIEHM VISION Mobile C-arm | Purchased | 12 | Xograph | 2021-03-31 | Yes | Yes | 8551.72 | 2016-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ARCADIS VARIC Mobile C-arm | Purchased | 4 | Siemens | 2020-04-01 | Yes | Yes | 8056.34 | 2024-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ARCADIS VARIC Mobile C-arm | Purchased | 3 | Siemens | 2020-04-01 | Yes | Yes | 8056.34 | 2025-11-30
| Bentilee Neighbourhood Centre | PHILIPS MEDICAL - IMAGING EQUIPMENT | IU22 ULTRASOUND | Purchased | 9 | ImageX | 2020-03-01 | Yes | Yes | 7577.92 | 2016-11-30
| Royal Stoke University Hospital | CARESTREAM HEALTH INC | DRX-M51 | Purchased | 2 | Carestream | 2020-04-01 | Yes | Yes | 7550 | 2026-11-30
| Royal Stoke University Hospital | CARESTREAM HEALTH INC | DRX-M51 | Purchased | 2 | Carestream | 2020-04-01 | Yes | Yes | 7550 | 2026-11-30
| Royal Stoke University Hospital | HOLOGIC | TRIDENT RC | Purchased | 3 | Hologic | 2019-09-01 | Yes | Yes | 7000 | 2015-11-30
| Royal Stoke University Hospital | FUJIFILM CORPORATION | FDR GO MOBILE | Purchased | 1 | Fuji | 2027-02-21 | Yes | Yes | 6687 | 2017-11-30
| Royal Stoke University Hospital | FUJIFILM CORPORATION | FDR GO MOBILE | Purchased | 1 | Fuji | 2027-02-21 | Yes | Yes | 6687 | 2024-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ARCADIS VARIC Mobile C-arm | Purchased | 9 | Siemens | 2020-04-01 | Yes | Yes | 6273.71 | 2019-11-30
| County Hospital | HOLOGIC | Affirm Breast Biopsy Guidance System | Purchased | 2 | Hologic | 2020-04-01 | Yes | Yes | 3822 | 2023-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | CX50 ULTRASOUND SYSTEM | Purchased | 4 | Philips | 2020-04-01 | Yes | Yes | 5564.61 | 2021-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ACUSON S1000 | Purchased | 4 | Siemens | 2020-04-01 | Yes | Yes | 5480.44 | 2021-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | BV ENDURA IMAGE INTENSIFIER Mobile C-arm | Purchased | 8 | Philips | 2020-04-01 | Yes | Yes | 5420.7 | 2010-11-30
| Royal Stoke University Hospital | FAXITRON BIOPTICS LLC | BIO VISION Specimen Cabinet | Purchased | 1 | Faxitron | 2020-03-01 | Yes | Yes | 5000 | 2027-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | BV PULSERA 9'' Mobile C-arm | Purchased | 6 | Philips | 2020-03-01 | Yes | Yes | 4761.1 | 2022-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | BV PULSERA 12'' Mobile C-arm | Purchased | 6 | Philips | 2020-03-01 | Yes | Yes | 4761.09 | 2022-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID E9 | Purchased | 5 | ImageX | 2020-03-01 | Yes | Yes | 4602.06 | 2020-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID E9 | Purchased | 3 | ImageX | 2020-03-01 | Yes | Yes | 4602.06 | 2022-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID E9 | Purchased | 3 | ImageX | 2020-03-01 | Yes | Yes | 4602.06 | 2022-11-30
| County Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID E9 | Purchased | 7 | ImageX | 2020-03-01 | Yes | Yes | 4602.06 | 2011-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID E9 | Purchased | 9 | ImageX | 2020-03-01 | Yes | Yes | 4602.06 | 2016-11-30
| County Hospital | HITACHI DENSHI LTD | PREIRUS | Purchased | 7 | Hitachi | 2020-04-01 | Yes | Yes | 4588 | 2011-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID E95 | Purchased | 3 | ImageX | 2020-03-01 | Yes | Yes | 4324.5 | 2015-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID E95 | Purchased | 3 | ImageX | 2020-03-01 | Yes | Yes | 4324.5 | 2015-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VOLUSON E6 | Leased | 6 | ImageX | 2020-03-01 | Yes | Yes | 4218.56 | 2019-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VOLUSON E6 | Leased | 6 | ImageX | 2020-03-01 | Yes | Yes | 4218.56 | 2019-11-30
| Royal Stoke University Hospital | GE Medical Systems Ltd | VIVID S5 | Purchased | 5 | ImageX | 2020-03-01 | Yes | Yes | 4218.56 | 2020-11-30
| Royal Stoke University Hospital | GE Medical Systems Ltd | VIVID S5 | Purchased | 5 | ImageX | 2020-03-01 | Yes | Yes | 4218.56 | 2020-11-30
| Royal Stoke University Hospital | SAMSUNG ELECTRONIC MANU UK LTD | ELITE WS 80 DIAGNOSTIC ULTRASOUND SCANNER | Purchased | 2 | ImageX | 2020-03-01 | Yes | Yes | 4218.56 | 2016-11-30
| County Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID S6 | Purchased | 8 | ImageX | 2020-03-01 | Yes | Yes | 4218.56 | 2010-11-30
| Haywood Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | TRUSCAN LOGIQ 9 | Purchased | 9 | ImageX | 2020-03-01 | Yes | Yes | 4218.56 | 2016-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID S6 | Purchased | 4 | imageX | 2020-03-01 | Yes | Yes | 3643.3 | 2021-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID S6 | Purchased | 7 | imageX | 2020-03-01 | Yes | Yes | 3643.3 | 2018-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID S6 | Purchased | 4 | imageX | 2020-03-01 | Yes | Yes | 3643.3 | 2021-11-30
| County Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID S6 | Purchased | 8 | imageX | 2020-03-01 | Yes | Yes | 3643.3 | 2010-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID S6 | Purchased | 8 | imageX | 2020-03-01 | Yes | Yes | 3643.3 | 2017-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID S6 | Purchased | 8 | imageX | 2020-03-01 | Yes | Yes | 3643.3 | 2017-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VOLUSON i | Purchased | 4 | ImageX | 2020-03-01 | Yes | Yes | 3163.92 | 2014-11-30
| Royal Stoke University Hospital | INSTRUMENTARIUM ZIEHM GMBH | ZIEHM VISION Mobile C-arm | Purchased | 1 | Xograph | 2021-03-31 | Yes | Yes | 2985.57 | 2027-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | OPTIMA XR220 MOBILE X-RAY | Purchased | 3 | GE | 2020-03-01 | Yes | Yes | 2910.18 | 2025-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | LOGIQ E | Purchased | 9 | ImageX | 2020-03-01 | Yes | Yes | 2616.88 | 2016-11-30
| County Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | EPIQ 5 | Purchased | 5 | Philips | 2020-03-01 | Yes | Yes | 2552.9 | 2022-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | IU22 ULTRASOUND | Purchased | 7 | ImageX | 2020-03-01 | Yes | Yes | 2157.22 | 2018-11-30
| Bradwell Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | IU22 ULTRASOUND | Purchased | 6 | ImageX | 2020-03-01 | Yes | Yes | 2157.22 | 2019-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | IU22 ULTRASOUND | Purchased | 9 | ImageX | 2020-03-01 | Yes | Yes | 2157.22 | 2016-11-30
| County Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | LOGIQ E | Purchased | 3 | ImageX | 2020-03-01 | Yes | Yes | 2109.29 | 2022-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | LOGIQ E | Donation | 6 | ImageX | 2020-03-01 | Yes | Yes | 2109.28 | 2019-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | LOGIQ E | Donation | 6 | ImageX | 2020-03-01 | Yes | Yes | 2109.28 | 2019-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | LOGIQ E | Donation | 6 | ImageX | 2020-03-01 | Yes | Yes | 2109.28 | 2019-11-30
| County Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | LOGIQ E | Purchased | 3 | ImageX | 2020-03-01 | Yes | Yes | 2109.28 | 2022-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | LOGIQ E | Purchased | 6 | ImageX | 2020-03-01 | Yes | Yes | 2109.28 | 2019-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | LOGIQ E | Donation | 6 | ImageX | 2020-03-01 | Yes | Yes | 2109.28 | 2019-11-30
| County Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | LOGIQ S8 | Purchased | 3 | ImageX | 2020-03-01 | Yes | Yes | 2109.28 | 2020-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | LOGIQ E | Purchased | 3 | ImageX | 2020-03-01 | Yes | Yes | 2109.28 | 2022-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | LOGIQ E | Purchased | 3 | ImageX | 2020-03-01 | Yes | Yes | 2109.28 | 2022-11-30
| Royal Stoke University Hospital | GE Medical Systems Ltd | VIVID I DIMENSION | Purchased | 11 | ImageX | 2020-03-01 | Yes | Yes | 2109.28 | 2014-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | LOGIQ E | Purchased | 9 | ImageX | 2020-03-01 | Yes | Yes | 2109.28 | 2016-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID Q ECHOCARDIOGRAPHY ULTRASOUND SYSTEM | Purchased | 9 | ImageX | 2020-03-01 | Yes | Yes | 2109.28 | 2016-11-30
| Royal Stoke University Hospital | GE Medical Systems Ltd | VIVID I DIMENSION | Purchased | 8 | ImageX | 2020-03-01 | Yes | Yes | 2109.28 | 2017-11-30
| Royal Stoke University Hospital | MEDRAD INC | PROVIS PEDESTAL INJECTOR | Purchased | 5 | Medrad | 2020-03-01 | Yes | Yes | 2001 | 2020-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | 2275938 AMX-4 (MOBILE X-RAY UNIT) | Purchased | 15 | Ashby | 2022-03-31 | Yes | Yes | 1230 | 2013-11-30
| Haywood Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | 2275938 AMX-4 (MOBILE X-RAY UNIT) | Purchased | 14 | Ashby | 2022-03-31 | Yes | Yes | 1230 | 2014-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | 2275938 AMX-4 (MOBILE X-RAY UNIT) | Purchased | 14 | Ashby | 2022-03-31 | Yes | Yes | 1230 | 2014-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | 2275938 AMX-4 (MOBILE X-RAY UNIT) | Purchased | 14 | Ashby | 2022-03-31 | Yes | Yes | 1230 | 2014-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | 2275938 AMX-4 (MOBILE X-RAY UNIT) | Purchased | 13 | Ashby | 2022-03-31 | Yes | Yes | 1230 | 2015-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | 2275938 AMX-4 (MOBILE X-RAY UNIT) | Purchased | 12 | Ashby | 2022-03-31 | Yes | Yes | 1230 | 2016-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | 2275938 AMX-4 (MOBILE X-RAY UNIT) | Purchased | 11 | Ashby | 2022-03-31 | Yes | Yes | 1230 | 2017-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | 2275938 AMX-4 (MOBILE X-RAY UNIT) | Purchased | 11 | Ashby | 2022-03-31 | Yes | Yes | 1230 | 2017-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | 2275938 AMX-4 (MOBILE X-RAY UNIT) | Purchased | 8 | Ashby | 2022-03-31 | Yes | Yes | 1230 | 2020-11-30
| Royal Stoke University Hospital | VERTEC SCIENTIFIC | IMAGE INTENSIFIER Mobile C-arm | Purchased | 10 | Vertec | 2020-03-01 | Yes | No | 780 | 2018-11-30
| County Hospital | TOSHIBA MEDICAL LTD | APLIO MX | Purchased | 8 | ImageX | 2020-03-01 | Yes | No | 383.51 | 2015-11-30
| Royal Stoke University Hospital | SIEMENS LTD | MAGNETOM AERA 1.5T | MES | 2 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2026-11-30
| Royal Stoke University Hospital | SIEMENS LTD | MAGNETOM AERA 1.5T | MES | 7 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2021-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ACUSON S2000 | MES | 1 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2017-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | EPIQ 5 | Purchased | 2 | Philips | 2020-03-01 | Yes | Yes | 2552 | 2021-11-30
| Royal Stoke University Hospital | HITACHI DENSHI LTD | PREIRUS | Purchased | 1 | Hitachi | 2020-03-01 | Yes | Yes | 4588 | 2022-11-30
| County Hospital | TOSHIBA MEDICAL LTD | AQUILION PRIME | Purchased | 4 | Toshiba | 2021-12-31 | Yes | Yes | 44459 | 2021-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | DIAGNOSTIC VM | MES | 6 | Philips | 2030-12-31 | Yes | Yes | 0 | 2022-11-30
| Royal Stoke University Hospital | SIEMENS LTD | SOLARIS | MES | 7 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2018-11-30
| Royal Stoke University Hospital | CARESTREAM HEALTH INC | DRX EVOLUTION | MES | 7 | Carestream | 2030-12-31 | Yes | Yes | 0 | 2021-11-30
| Royal Stoke University Hospital | SIEMENS LTD | YSIO MAX | MES | 0 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2025-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID iq | Purchased | 0 | GE | 2020-04-01 | Yes | Yes | 4006 | 2025-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | IU22 ULTRASOUND | Purchased | 7 | imageX | 2020-03-01 | Yes | Yes | 2157.22 | 2018-11-30
| Royal Stoke University Hospital | SIEMENS LTD | MAGNETOM AERA 1.5T | MES | 2 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2026-11-30
| Royal Stoke University Hospital | CARESTREAM HEALTH INC | DRX EVOLUTION | MES | 7 | Carestream | 2030-12-31 | Yes | Yes | 0 | 2021-11-30
| Royal Stoke University Hospital | SIEMENS LTD | SYMBIA S-SERIES | MES | 6 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2022-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ARTIS ZEE FLOOR | MES | 3 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2025-11-30
| Royal Stoke University Hospital | SIEMENS LTD | SYNGO X | MES | 6 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2019-11-30
| Royal Stoke University Hospital | SIEMENS LTD | MAX MINI | MES | 0 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2025-11-30
| Royal Stoke University Hospital | SIEMENS LTD | SOMATOM DEFINITION AS | MES | 7 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2021-11-30
| Royal Stoke University Hospital | CARESTREAM HEALTH INC | DRX EVOLUTION | MES | 7 | Carestream | 2030-12-31 | Yes | Yes | 0 | 2021-11-30
| Royal Stoke University Hospital | SIEMENS LTD | SYMBIA.NET SERVER (T) | MES | 7 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2018-11-30
| Royal Stoke University Hospital | SIEMENS LTD | SYMBIA T-SERIES | MES | 7 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2021-11-30
| Royal Stoke University Hospital | CARESTREAM HEALTH INC | DRX EVOLUTION | MES | 7 | Carestream | 2030-12-31 | Yes | Yes | 0 | 2021-11-30
| County Hospital | HITACHI DENSHI LTD | EUP-CC531 DIANOSTIC SCANNER | Purchased | 1 | Hitachi | 2020-02-28 | Yes | Yes | 4000 | 2024-11-30
| Royal Stoke University Hospital | SIEMENS LTD | LUMINOS DRF | MES | 7 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2021-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VENUE 50 | Purchased | 3 | Siemens | 2020-03-31 | Yes | Yes | 2157.22 | 2022-11-30
| Royal Stoke University Hospital | SIEMENS LTD | SENSIS XP | MES | 6 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2019-11-30
| Royal Stoke University Hospital | SIEMENS LTD | SENSIS XP | MES | 6 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2019-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ACUSON S2000 | MES | 1 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2017-11-30
| Royal Stoke University Hospital | SIEMENS LTD | SOMATOM DEFINITION AS | MES | 4 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2024-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | IU22 ULTRASOUND | Purchased | 7 | ImageX | 2020-03-01 | Yes | Yes | 2157.22 | 2018-11-30
| Royal Stoke University Hospital | SIEMENS LTD | SYMBIA.NET SERVER (S) | MES | 6 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2019-11-30
| Royal Stoke University Hospital | SIEMENS LTD | SYNGO X | MES | 6 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2019-11-30
| Royal Stoke University Hospital | SIEMENS LTD | SYNGO X | MES | 6 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2019-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | LOGIQ E | Purchased | 2 | ImageX | 2020-03-01 | Yes | Yes | 2109.28 | 2023-11-30
| County Hospital | TOSHIBA MEDICAL LTD | AQUILION 64 | Purchased | 11 | Toshiba | 2021-12-31 | Yes | Yes | 44349 | 2014-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ARTIS ZEE FLOOR | MES | 6 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2022-11-30
| Royal Stoke University Hospital | SIEMENS LTD | SOMATOM DEFINITION AS | MES | 7 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2021-11-30
| Royal Stoke University Hospital | SIEMENS LTD | MAGNETOM SKYRA 3T | MES | 7 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2021-11-30
| Haywood Hospital | SIEMENS LTD | YSIO MAX | MES | 4 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2021-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID S70 | Purchased | 1 | ImageX | 2020-03-01 | Yes | Yes | 2881 | 2024-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VOLUSON E8 | Purchased | 1 | GE | 2020-03-31 | Yes | Yes | 2881 | 2024-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID S70 | Purchased | 0 | GE | 2020-03-31 | Yes | Yes | 2881 | 2025-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | AFFINITI ULTRASOUND SYSTEM | Purchased | 1 | Philips | 2020-03-31 | Yes | Yes | 2786 | 2024-11-30
| Royal Stoke University Hospital | GE MEDICAL SYSTEMS(ULTRASOUND) | VIVID S70 | Purchased | 1 | ImageX | 2020-03-01 | Yes | Yes | 2881 | 2024-11-30
| Haywood Hospital | SIEMENS LTD | YSIO | MES | 9 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2016-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ARTIS ZEE FLOOR | MES | 6 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2022-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ACUSON S2000 | MES | 1 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2017-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | DIAGNOSTIC VM | MES | 6 | Philips | 2030-12-31 | Yes | Yes | 0 | 2022-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | IU22 ULTRASOUND | Purchased | 4 | ImageX | 2020-03-01 | Yes | Yes | 2157.22 | 2021-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ARTIS ZEE FLOOR | MES | 6 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2022-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ACUSON S2000 | MES | 1 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2017-11-30
| Royal Stoke University Hospital | CARESTREAM HEALTH INC | DRX EVOLUTION | MES | 7 | Carestream | 2030-12-31 | Yes | Yes | 0 | 2021-11-30
| Royal Stoke University Hospital | SIEMENS LTD | AXIOM ARISTOS MX/VX | MES | 11 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2014-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ACUSON X300 ULTRASOUND SYSTEM | Purchased | 11 | Siemens | 2015-02-28 | Yes | Yes | 2157.22 | 2014-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | IU22 ULTRASOUND | Purchased | 8 | ImageX | 2020-03-31 | Yes | Yes | 2157.22 | 2017-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | IU22 ULTRASOUND | Purchased | 9 | ImageX | 2020-03-31 | Yes | Yes | 2157.22 | 2016-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | IU22 ULTRASOUND | Purchased | 8 | ImageX | 2020-03-31 | Yes | Yes | 2157.22 | 2017-11-30
| Royal Stoke University Hospital | SIEMENS LTD | MAMMOMAT INSPIRATION 3122509 | MES | 8 | Siemens | 2030-12-31 | Yes | Yes | 0 | 2020-11-30
| Royal Stoke University Hospital | PHILIPS MEDICAL - IMAGING EQUIPMENT | IU22 ULTRASOUND | Purchased | 8 | ImageX | 2020-03-31 | Yes | Yes | 2157.22 | 2017-11-30
| Royal Stoke University Hospital | SIEMENS LTD | ARCADIS ORBIC - Mobile C-arm | MES | 8 | Siemens | 2018-02-28 | Yes | Yes | 0 | 2020-11-30

## Inputs
Age of equipment | Planned replacement date | Service Contract | End date
1 | 2018 | Yes | 2018-07-01 | Purchased
2 | 2019 | No | 2018-08-01 | Leased
3 | 2020 |  | 2018-09-01 | MES
4 | 2021 |  | 2018-10-01
5 | 2022 |  | 2018-11-01
6 | 2023 |  | 2018-12-01
7 | 2024 |  | 2019-01-01
8 | 2025 |  | 2019-02-01
9 | 2026 |  | 2019-03-01
10 | 2027 |  | 2019-04-01
11 | 2028 |  | 2019-05-01
12 | 2029 |  | 2019-06-01
13 | 2030 |  | 2019-07-01
14 | 2031 |  | 2019-08-01
15 | 2032 |  | 2019-09-01
16 | 2033 |  | 2019-10-01
17 | 2034 |  | 2019-11-01
18 | 2035 |  | 2019-12-01
19 | 2036 |  | 2020-01-01
20 | 2037 |  | 2020-02-01
20+ | 2037+ |  | 2020-03-01
2020-04-01
2020-05-01
2020-06-01
2020-07-01
2020-08-01
2020-09-01
2020-10-01
2020-11-01
2020-12-01
2021-01-01
2021-02-01
2021-03-01
2021-04-01
2021-05-01
2021-06-01
2021-07-01
2021-08-01
2021-09-01
2021-10-01
2021-11-01
2021-12-01
2022-01-01
2022-02-01
2022-03-01
2022-04-01
2022-05-01
2022-06-01
2022-07-01
2022-08-01
2022-09-01
2022-10-01
2022-11-01
2022-12-01
2023-01-01
2023-02-01
2023-03-01
2023-04-01
2023-05-01
2023-06-01
2023-07-01
2023-08-01
2023-09-01
2023-10-01
2023-11-01
2023-12-01
2024-01-01
2024-02-01
2024-03-01
2024-04-01
2024-05-01
2024-06-01
2024-07-01
2024-08-01
2024-09-01
2024-10-01
2024-11-01
2024-12-01
2025-01-01
2025-02-01
2025-03-01
2025-04-01
2025-05-01
2025-06-01
2025-07-01
2025-08-01
2025-09-01
2025-10-01
2025-11-01
2025-12-01
2026-01-01
2026-02-01
2026-03-01
2026-04-01
2026-05-01
2026-06-01
2026-07-01
2026-08-01
2026-09-01
2026-10-01
2026-11-01
2026-12-01
2027-01-01
2027-02-01
2027-03-01
2027-04-01
2027-05-01
2027-06-01
2027-07-01
2027-08-01
2027-09-01
2027-10-01
2027-11-01
2027-12-01
2028-01-01
2028-02-01
2028-03-01
2028-04-01
2028-05-01
2028-06-01
2028-07-01
2028-08-01
2028-09-01
2028-10-01
2028-11-01
2028-12-01
2029-01-01
2029-02-01
2029-03-01
2029-04-01
Apr-29+